## Sheet1
Sample ID | Date/Time | Station | Method | TPO4 | OPO4 | TKN | NOX | NH4 | SO4 | CL | TDPO4 | Depth (m) | Tdepth (m) | DCS (m) | Time Processing Initiated | Time Processing Completed | Total Minutes Required to Process | Number of Minutes after Collection that Processing was Completed | Number of Minutes after Collection that Processing was Started | Comments | Sample Type
P43857-1 | 3/19/2009 0925 | S373A | P | 0.161 | 0.023 | 4.33 | 0.021 | 0.106 | 54.7 | 247 |  | 0.4 | 1.16 | 1.16 | 925 | 930 | 5 | 5 | 0 | gate opened just prior to sampling; turbid; MDL for CL is 0.2 for a 2x dilution | Canal
P43857-2 | 3/19/2009 0925 | S373A | P4 | 0.156 | 0.022 | 4.23 | 0.023 | 0.103 | 56.2 | 254 |  | 0.4 | 1.16 | 1.16 | 1305 | 1310 | 5 | 225 | 220 | MDL for CL is 0.2 for a 2x dilution | Canal
P43857-3 | 3/19/2009 0932 | S373A | G | 0.144 | 0.02 | 4.11 | 0.02 | 0.092 | 55.4 | 250 |  | 0.4 | 1.16 | 1.16 | 946 | 953 | 7 | 21 | 14 | MDL for CL and SO4 is 0.2 for a 2x dilution | Canal
P43857-4 | 3/19/2009 0932 | S373A | G4 | 0.144 | 0.021 | 4.11 | 0.021 | 0.089 | 55.7 | 252 |  | 0.4 | 1.16 | 1.16 | 1313 | 1318 | 5 | 226 | 221 | MDL for CL and SO4 is 0.2 for a 2x dilution | Canal
P43857-5 | 3/19/2009 1026 | S373B | P | 0.115 | 0.046 | 2.06 | 0.033 | 0.087 | 62.5 | 168 |  | 0.25 | 0.5 | 0.5 | 1026 | 1031 | 5 | 5 | 0 | sandy bottom | Canal
P43857-6 | 3/19/2009 1026 | S373B | P4 | 0.114 | 0.045 | 2.06 | 0.032 | 0.084 | 63.1 | 169 |  | 0.25 | 0.5 | 0.5 | 1320 | 1324 | 4 | 174 | 170 |  | Canal
P43857-7 | 3/19/2009 1034 | S373B | G | 0.112 | 0.045 | 2.05 | 0.032 | 0.085 | 62.4 | 168 |  | 0.25 | 0.5 | 0.5 | 1047 | 1052 | 5 | 18 | 13 |  | Canal
P43857-8 | 3/19/2009 1034 | S373B | G4 | 0.111 | 0.044 | 2.02 | 0.032 | 0.085 | 63.1 | 170 |  | 0.25 | 0.5 | 0.5 | 1325 | 1329 | 4 | 175 | 171 |  | Canal
P43857-9 | 3/19/2009 1105 | S370A | P | 0.113 | 0.046 | 2.06 | 0.02 | 0.1 | 62.3 | 170 |  | 0.3 | 0.6 | 0.6 | 1105 | 1110 | 5 | 5 | 0 | sandy bottom | Canal
P43857-10 | 3/19/2009 1105 | S370A | P4 | 0.119 | 0.046 | 2.12 | 0.02 | 0.096 | 62.6 | 171 |  | 0.3 | 0.6 | 0.6 | 1331 | 1335 | 4 | 150 | 146 |  | Canal
P43857-11 | 3/19/2009 1110 | S370A | G | 0.112 | 0.046 | 2.06 | 0.02 | 0.096 | 62 | 169 |  | 0.3 | 0.6 | 0.6 | 1116 | 1120 | 4 | 10 | 6 |  | Canal
P43857-12 | 3/19/2009 1110 | S370A | G4 | 0.112 | 0.046 | 2.03 | 0.02 | 0.096 | 62.3 | 170 |  | 0.3 | 0.6 | 0.6 | 1338 | 1343 | 5 | 153 | 148 |  | Canal
P43857-13 | 3/19/2009 1130 | S370B | P | 0.117 | 0.042 | 2.12 | 0.016 | 0.082 | 61.4 | 171 |  | 0.25 | 0.5 | 0.5 | 1130 | 1134 | 4 | 4 | 0 | sandy bottom | Canal
P43857-14 | 3/19/2009 1130 | S370B | P4 | 0.117 | 0.042 | 2.09 | 0.016 | 0.083 | 61.7 | 171 |  | 0.25 | 0.5 | 0.5 | 1346 | 1352 | 6 | 142 | 136 |  | Canal
P43857-15 | 3/19/2009 1135 | S370B | G | 0.116 | 0.042 | 2.1 | 0.015 | 0.078 | 61.8 | 171 |  | 0.25 | 0.5 | 0.5 | 1142 | 1146 | 4 | 11 | 7 |  | Canal
P43857-16 | 3/19/2009 1135 | S370B | G4 | 0.117 | 0.042 | 2.05 | 0.015 | 0.078 | 62 | 171 |  | 0.25 | 0.5 | 0.5 | 1354 | 1358 | 4 | 143 | 139 |  | Canal
P43856-1 | 3/19/2009 0938 | G249E | P4 | 0.095 | 0.048 | 3.18 | 0.077 | 0.369 | 57.4 | 253 |  | 0.18 | 0.36 | 0.37 | 1318 | 1323 | 5 | 225 | 220 | MDL for CL and SO4 is 0.2 for a 2x dilution | Canal
P43856-2 | 3/19/2009 0945 | G249E | P | 0.101 | 0.049 | 3.23 | 0.078 | 0.368 | 52.4 | 231 |  | 0.18 | 0.36 | 0.37 | 950 | 952 | 2 | 7 | 5 | MDL for CL and SO4 is 0.2 for a 2x dilution | Canal
P43856-3 | 3/19/2009 0955 | G249E | G4 | 0.098 | 0.048 | 3.22 | 0.078 | 0.371 | 55.1 | 244 |  | 0.18 | 0.36 | 0.37 | 1325 | 1333 | 8 | 218 | 210 | MDL for CL and SO4 is 0.2 for a 2x dilution | Canal
P43856-4 | 3/19/2009 0957 | G249E | G | 0.095 | 0.047 | 3.16 | 0.08 | 0.37 | 49.8 | 220 |  | 0.18 | 0.36 | 0.37 | 958 | 1001 | 3 | 4 | 1 | MDL for CL and SO4 is 0.2 for a 2x dilution | Canal
P43856-5 | 3/19/2009 1043 | G257 | P4 | 0.154 | 0.098 | 3.63 | 0.066 | 0.607 | 54 | 263 |  | 0.32 | 0.64 | 0.65 | 1334 | 1337 | 3 | 174 | 171 | 500' north of G257; west side of levee; MDL for CL and SO4 is 0.2 for a 2x dilution | ?
P43856-6 | 3/19/2009 1044 | G257 | P | 0.158 | 0.098 | 3.61 | 0.06 | 0.602 | 53.1 | 255 |  | 0.32 | 0.64 | 0.65 | 1048 | 1050 | 2 | 6 | 4 | MDL for CL and SO4 is 0.2 for a 2x dilution | ?
P43856-7 | 3/19/2009 1050 | G257 | G4 | 0.159 | 0.1 | 3.63 | 0.058 | 0.582 | 54.1 | 260 |  | 0.32 | 0.64 | 0.65 | 1340 | 1345 | 5 | 175 | 170 | MDL for CL and SO4 is 0.2 for a 2x dilution | ?
P43856-8 | 3/19/2009 1052 | G257 | G | 0.15 | 0.093 | 3.68 | 0.059 | 0.579 | 54.1 | 262 |  | 0.32 | 0.64 | 0.65 | 1056 | 1101 | 5 | 9 | 4 | MDL for CL and SO4 is 0.2 for a 2x dilution | ?
P43856-9 | 3/19/2009 1133 | G252H | P4 | 0.108 | 0.01 | 3.23 | 0.15 | 0.76 | 58.7 | 194 |  | 0.32 | 0.65 | >1 | 1346 | 1353 | 7 | 140 | 133 | 250' west of G252H; north side of levee | ?
P43856-10 | 3/19/2009 1134 | G252H | P | 0.109 | 0.01 | 3.21 | 0.154 | 0.779 | 58.6 | 194 |  | 0.32 | 0.65 | >1 | 1134 | 1136 | 2 | 2 | 0 |  | ?
P43856-11 | 3/19/2009 1145 | G252H | G4 | 0.101 | 0.012 | 3.17 | 0.152 | 0.766 | 58.5 | 194 |  | 0.32 | 0.65 | >1 | 1355 | 1400 | 5 | 135 | 130 |  | ?
P43856-12 | 3/19/2009 1146 | G252H | G | 0.104 | 0.012 | 3.19 | 0.155 | 0.761 | 58.3 | 193 |  | 0.32 | 0.65 | >1 | 1151 | 1159 | 8 | 13 | 5 |  | ?
P43855-1 | 3/19/2009 1010 | S10E | P4 | 0.032 | 0.002 | 1.54 | 0.005 | 0.093 | 20.4 | 65.9 |  | 0.19 | 0.39 | 0.39 | 1455 | 1459 | 4 | 289 | 185 |  | ?
P43855-2 | 3/19/2009 1012 | S10E | P | 0.03 | 0.002 | 1.54 | 0.005 | 0.097 | 20 | 66.5 |  | 0.19 | 0.39 | 0.39 | 1012 | 1015 | 3 | 3 | 0 |  | ?
P43855-3 | 3/19/2009 1025 | S10E | G4 | 0.023 | 0.005 | 1.49 | 0.005 | 0.12 | 20 | 64.8 |  | 0.19 | 0.39 | 0.39 | 1355 | 1403 | 8 | 218 | 210 |  | ?
P43855-4 | 3/19/2009 1025 | S10E | G | 0.03 | 0.003 | 1.51 | 0.005 | 0.103 | 19.9 | 65.6 |  | 0.19 | 0.39 | 0.39 | 1030 | 1036 | 6 | 11 | 5 |  | ?
P43855-5 | 3/19/2009 1110 | S10D | P4 | 0.019 | 0.002 | 1.32 | 0.017 | 0.025 | 21.8 | 61 |  | 0.2 | 0.4 | 0.51 | 1430 | 1437 | 7 | 207 | 200 |  | Canal
P43855-6 | 3/19/2009 1112 | S10D | P |  |  |  | 0.014 | 0.023 |  |  |  | 0.2 | 0.4 | 0.51 | 1112 | 1117 | 5 | 5 | 0 |  | Canal
P43855-7 | 3/19/2009 1118 | S10D | G4 | 0.019 | 0.002 | 1.33 | 0.018 | 0.026 | 21.8 | 61.1 |  | 0.2 | 0.4 | 0.51 | 1444 | 1450 | 6 | 212 | 206 |  | Canal
P43855-8 | 3/19/2009 1120 | S10D | G | 0.02 | 0.002 | 1.32 | 0.014 | 0.024 | 21.8 | 60.9 |  | 0.2 | 0.4 | 0.51 | 1125 | 1128 | 3 | 8 | 5 |  | Canal
P43855-9 | 3/19/2009 1145 | S10C | P4 | 0.013 | 0.002 | 1.12 | 0.005 | 0.018 | 9.7 | 38.3 |  | 0.14 | 0.27 | 0.4 | 1453 | 1458 | 5 | 193 | 188 |  | Canal
P43855-10 | 3/19/2009 1147 | S10C | P |  |  |  | 0.005 | 0.016 |  |  |  | 0.14 | 0.27 | 0.4 | 1147 | 1152 | 5 | 5 | 0 |  | Canal
P43855-11 | 3/19/2009 1150 | S10C | G4 | 0.013 | 0.002 | 1.16 | 0.009 | 0.019 | 9.6 | 38.2 |  | 0.14 | 0.27 | 0.4 | 1500 | 1509 | 9 | 190 | 181 |  | Canal
P43855-12 | 3/19/2009 1152 | S10C | G | 0.015 | 0.002 | 1.17 | 0.005 | 0.018 | 9.6 | 38 |  | 0.14 | 0.27 | 0.4 | 1155 | 1200 | 5 | 8 | 3 |  | Canal
P43855-13 | 3/19/2009 1230 | S39 | P4 | 0.014 | 0.002 | 1.13 | 0.019 | 0.021 | 8.2 | 36.2 |  | 0.26 | 0.53 | 0.53 | 1513 | 1519 | 6 | 169 | 163 |  | Canal
P43855-14 | 3/19/2009 1233 | S39 | P |  |  |  | 0.007 | 0.02 |  |  |  | 0.26 | 0.53 | 0.53 | 1233 | 1239 | 6 | 6 | 0 |  | Canal
P43855-15 | 3/19/2009 1240 | S39 | G4 | 0.015 | 0.002 | 1.13 | 0.008 | 0.021 | 8.1 | 35.7 |  | 0.26 | 0.53 | 0.53 | 1523 | 1529 | 6 | 169 | 163 |  | Canal
P43855-16 | 3/19/2009 1241 | S39 | G | 0.015 | 0.002 | 1.12 | 0.007 | 0.02 | 8.2 | 36.3 |  | 0.26 | 0.53 | 0.53 | 1245 | 1251 | 6 | 10 | 4 |  | Canal
P43858-1 | 4/2/2009 0905 | L86RC | P4 | 0.101 | 0.057 | 1.26 | 0.353 | 0.04 | 47.9 | 77.7 |  | 0.13 | 0.26 | 0.27 | 1230 | 1238 | 8 | 213 | 205 | 50' north of L86RC | ?
P43858-2 | 4/2/2009 0907 | L86RC | P | 0.103 | 0.056 | 1.25 | 0.354 | 0.042 | 48.2 | 78.3 |  | 0.13 | 0.26 | 0.27 | 907 | 909 | 2 | 2 | 0 |  | ?
P43858-3 | 4/2/2009 0913 | L86RC | G4 | 0.102 | 0.057 | 1.25 | 0.355 | 0.038 | 48.2 | 78.3 |  | 0.13 | 0.26 | 0.27 | 1240 | 1246 | 6 | 213 | 207 |  | ?
P43858-4 | 4/2/2009 0914 | L86RC | G | 0.101 | 0.057 | 1.25 | 0.352 | 0.041 | 48 | 77.9 |  | 0.13 | 0.26 | 0.27 | 918 | 922 | 4 | 8 | 4 |  | ?
P43858-5 | 4/2/2009 0958 | S5AU | P4 | 0.102 | 0.062 | 1.48 | 0.675 | 0.07 | 51.1 | 96.6 |  | 0.18 | 0.35 | 0.35 | 1247 | 1256 | 9 | 178 | 169 |  | Canal
P43858-6 | 4/2/2009 1000 | S5AU | P | 0.106 | 0.061 | 1.42 | 0.668 | 0.07 | 51.2 | 96.8 |  | 0.18 | 0.35 | 0.35 | 1002 | 1004 | 2 | 4 | 2 |  | Canal
P43858-7 | 4/2/2009 1006 | S5AU | G4 | 0.1 | 0.061 | 1.44 | 0.661 | 0.069 | 51.1 | 96.6 |  | 0.18 | 0.35 | 0.35 | 1259 | 1307 | 8 | 181 | 173 |  | Canal
P43858-8 | 4/2/2009 1007 | S5AU | G | 0.097 | 0.061 | 1.45 | 0.661 | 0.07 | 51.3 | 96.8 |  | 0.18 | 0.35 | 0.35 | 1010 | 1014 | 4 | 7 | 3 |  | Canal
P43858-9 | 4/2/2009 1053 | 6251D | P4 | 0.05 | 0.014 | 1.52 | 0.162 | 0.039 | 20.4 | 60.1 |  | 0.19 | 0.37 | 0.37 | 1309 | 1317 | 8 | 144 | 136 |  | ?
P43858-10 | 4/2/2009 1055 | 6251D | P | 0.05 | 0.015 | 1.5 | 0.163 | 0.042 | 20.3 | 59.9 |  | 0.19 | 0.37 | 0.37 | 1057 | 1058 | 1 | 3 | 2 |  | ?
P43858-11 | 4/2/2009 1058 | 6251D | G4 | 0.049 | 0.015 | 1.47 | 0.162 | 0.038 | 20.5 | 60.2 |  | 0.19 | 0.37 | 0.37 | 1320 | 1326 | 6 | 148 | 142 |  | ?
P43858-12 | 4/2/2009 1100 | 6251D | G | 0.048 | 0.015 | 1.46 | 0.163 | 0.04 | 20 | 59 |  | 0.19 | 0.37 | 0.37 | 1102 | 1108 | 6 | 8 | 2 |  | ?
P43859-1 | 4/2/2009 855 | S367C | P | 0.129 | 0.003 | 2.39 | -0.001 | 0.022 | 32.4 | 199 |  | 0.25 | 0.5 | 0.5 | 856 | 858 | 2 | 3 | 1 |  | Canal
P43859-2 | 4/2/2009 857 | S367C | P4 | 0.128 | 0.003 | 2.34 | -0.001 | 0.02 | 32.4 | 199 |  | 0.25 | 0.5 | 0.5 | 1244 | 1249 | 5 | 232 | 227 |  | Canal
P43859-3 | 4/2/2009 901 | S367C | G | 0.124 | 0.003 | 2.35 | -0.001 | 0.024 | 32.4 | 199 |  | 0.24 | 0.48 | 0.48 | 906 | 914 | 8 | 13 | 5 | site within 1.0 m of -1 & -2 | Canal
P43859-4 | 4/2/2009 901 | S367C | G4 | 0.123 | 0.003 | 2.32 | -0.001 | 0.019 | 32.4 | 200 |  | 0.24 | 0.48 | 0.48 | 1250 | 1255 | 5 | 234 | 229 | site within 1.0 m of -1 & -2 | Canal
P43859-5 | 4/2/2009 931 | S367D | P | 0.131 | 0.002 | 2.39 | -0.002 | 0.019 | 32.2 | 196 |  | 0.24 | 0.49 | 0.49 | 931 | 936 | 5 | 5 | 0 |  | Canal
P43859-6 | 4/2/2009 931 | S367D | P4 | 0.132 | 0.002 | 2.36 | -0.001 | 0.019 | 32.2 | 196 |  | 0.24 | 0.49 | 0.49 | 1256 | 1301 | 5 | 210 | 205 |  | Canal
P43859-7 | 4/2/2009 938 | S367D | G | 0.124 | 0.002 | 2.34 | 0.001 | 0.019 | 32.4 | 196 |  | 0.2 | 0.43 | 0.43 | 944 | 949 | 5 | 11 | 6 | site within 1.0 m of -5 & -6 | Canal
P43859-8 | 4/2/2009 938 | S367D | G4 | 0.124 | 0.001 | 2.33 | -0.001 | 0.018 | 32.2 | 196 |  | 0.2 | 0.43 | 0.43 | 1303 | 1310 | 7 | 212 | 205 | site within 1.0 m of -5 & -6 | Canal
P43859-9 | 4/2/2009 1024 | S368C | P | 0.049 | 0.004 | 1.92 | 0.021 | 0.039 | 41 | 252 |  | 0.25 | 0.51 | 0.57 | 1024 | 1028 | 4 | 4 | 0 | MDL for CL is 0.2 for a 2x dilution | Canal
P43859-10 | 4/2/2009 1024 | S368C | P4 | 0.056 | 0.007 | 2.08 | 0.021 | 0.039 | 41.4 | 255 |  | 0.25 | 0.51 | 0.57 | 1311 | 1317 | 6 | 173 | 167 | MDL for CL is 0.2 for a 2x dilution | Canal
P43859-11 | 4/2/2009 1030 | S368C | G | 0.05 | 0.005 | 2.01 | 0.023 | 0.036 | 40.4 | 250 |  | 0.25 | 0.51 | 0.57 | 1035 | 1041 | 6 | 11 | 5 | MDL for CL is 0.2 for a 2x dilution | Canal
P43859-12 | 4/2/2009 1030 | S368C | G4 | 0.049 | 0.007 | 2.03 | 0.022 | 0.034 | 41.2 | 254 |  | 0.25 | 0.51 | 0.57 | 1319 | 1325 | 6 | 175 | 169 | MDL for CL is 0.2 for a 2x dilution | Canal
P43837-1 | 6/3/2009 1110 | LOXA104 | G | 0.043 | 0.002 | 1.99 | 0.065 | 0.045 | 41.2 | 119 |  | 0.25 | 0.5 | 0.5 | [5 empty] | processed on site; Whatman #8558089 filters; no visible solids | Canal
P43837-2 | 6/3/2009 1110 | LOXA104 | G24 | 0.043 | 0.002 | 1.94 | 0.061 | 0.044 | 41.3 | 119 |  | 0.25 | 0.5 | 0.5 |  |  |  |  | 1445 | processed at lab on 06/04/09; Whatman #8558089 filters; light visible solids | Canal
P43837-3 | 6/3/2009 1135 | G254B | G | 0.06 | 0.002 | 2.78 | 0.026 | 0.171 | 41.1 | 119 |  | 0.25 | 0.5 | 0.53 | [5 empty] | processed on site; light visible solids | Canal
P43837-4 | 6/3/2009 1135 | G254B | G24 | 0.059 | 0.002 | 2.88 | 0.023 | 0.169 | 41.2 | 119 |  | 0.25 | 0.5 | 0.53 |  |  |  |  | 1430 | processed at lab on 06/04/09; light visible solids | Canal
P43837-5 | 6/3/2009 1200 | G255 | G | 0.229 | 0.106 | 3.04 | 0.742 | 0.062 | 73 | 121 |  | 0.26 | 0.54 | 0.54 | [5 empty] | processed on site; heavy visible solids | Canal
P43837-6 | 6/3/2009 1200 | G255 | G24 | 0.231 | 0.111 | 3.11 | 0.739 | 0.054 | 72.6 | 121 |  | 0.26 | 0.54 | 0.54 |  |  |  |  | 1465 | processed at lab on 06/04/09 @; heavy visible solids | Canal
P43860-1 | 6/29/2009 1213 | 2AC1 | P | 0.016 | 0.002 | 2.07 | 0.005 | 0.021 | 40.4 | 125 |  |  | 0.53 | 0.57 | [5 empty] | collected by WQM; processed in field at site; pre-filter not used | Marsh
P43860-7 | 6/29/2009 1213 | 2AC1 | P4 | 0.017 | 0.002 | 2.19 | 0.005 | 0.021 | 40.3 | 125 |  |  | 0.53 | 0.57 |  |  |  |  | 242 | processed at lab by WQM; same as P43860-1 | Marsh
P43860-2 | 6/29/2009 1214 | 2AC1 | RP | 0.016 | 0.002 | 2.16 | 0.011 | 0.023 | 40.2 | 124 |  |  | 0.53 | 0.57 | [5 empty] | collected by Research; processed in field at site; pre-filter used | Marsh
P43860-8 | 6/29/2009 1214 | 2AC1 | RP4 | 0.016 | 0.002 | 2.07 | 0.005 | 0.02 | 40.8 | 126 |  |  | 0.53 | 0.57 |  |  |  |  | 246 | processed at lab by WQM; same as P43860-2 | Marsh
P43860-3 | 6/29/2009 1226 | 2AC2 | P | 0.009 | 0.002 | 2.03 | 0.005 | 0.028 | 47.7 | 122 |  |  | 0.43 | 0.49 | [5 empty] | collected by WQM; processed in field at site; pre-filter not used | Marsh
P43860-9 | 6/29/2009 1226 | 2AC2 | P4 | 0.008 | 0.002 | 1.97 | 0.005 | 0.021 | 48.6 | 124 |  |  | 0.43 | 0.49 |  |  |  |  | 240 | processed at lab by WQM; same as P43860-3 | Marsh
P43860-4 | 6/29/2009 1225 | 2AC2 | RP | 0.009 | 0.002 | 2.04 | 0.009 | 0.024 | 48 | 123 |  |  | 0.43 | 0.49 | [5 empty] | collected by Research; processed in field at site; pre-filter used | Marsh
P43860-10 | 6/29/2009 1225 | 2AC2 | RP4 | 0.009 | 0.002 | 1.91 | 0.005 | 0.019 | 48.1 | 124 |  |  | 0.43 | 0.49 |  |  |  |  | 245 | processed at lab by WQM; same as P43860-4 | Marsh
P43861-1 | 2009-06-30 08:30 | S367B | P | 1.215 | 1.059 | 2.26 | 0.005 | 0.063 | 55.4 | 86.5 |  | 0.25 | 0.5 | 0.5 | [6 empty] | Canal
P43861-2 | 2009-06-30 08:30 | S367B | P4 | 1.213 | 1.056 | 2.25 | 0.005 | 0.053 | 55 | 85.8 |  | 0.25 | 0.5 | 0.5 |  |  |  |  | 224 |  | Canal
P43861-3 | 2009-06-30 08:45 | S371A | P | 0.146 | 0.095 | 1.8 | 0.005 | 0.058 | 33.4 | 70.6 |  | 0.22 | 0.45 | 0.45 | [6 empty] | Canal
P43861-4 | 2009-06-30 08:45 | S371A | P4 | 0.15 | 0.095 | 1.8 | 0.005 | 0.048 | 33.1 | 70.2 |  | 0.22 | 0.45 | 0.45 |  |  |  |  | 220 |  | Canal
P43861-5 | 2009-06-30 09:04 | S372B | P | 0.165 | 0.073 | 2.42 | 0.009 | 0.169 | 32.9 | 70.9 |  | 0.2 | 0.42 | 0.42 | [6 empty] | Canal
P43861-6 | 2009-06-30 09:04 | S372B | P4 | 0.166 | 0.073 | 2.42 | 0.009 | 0.174 | 33.1 | 71.5 |  | 0.2 | 0.42 | 0.42 |  |  |  |  | 218 |  | Canal
P43861-7 | 2009-06-30 09:19 | S369D | P | 0.02 | 0.002 | 1.6 | 0.005 | 0.036 | 13.2 | 196 |  | 0.25 | 0.5 | 0.5 | [6 empty] | Canal
P43861-8 | 2009-06-30 09:19 | S369D | P4 | 0.018 | 0.002 | 1.6 | 0.005 | 0.032 | 13.3 | 198 |  | 0.25 | 0.5 | 0.5 |  |  |  |  | 226 |  | Canal
P43861-9 | 2009-06-30 09:40 | S366B | P | 0.54 | 0.459 | 1.49 | 0.02 | 0.181 | 44.7 | 94.9 |  | 0.34 | 0.68 | 0.68 | [6 empty] | Canal
P43861-10 | 2009-06-30 09:40 | S366B | P4 | 0.546 | 0.458 | 1.5 | 0.019 | 0.177 | 44.5 | 94.5 |  | 0.34 | 0.68 | 0.68 |  |  |  |  | 215 |  | Canal
P45249-1 | 8/10/2009 0929 | G375B | G | 0.03 | 0.002 | [6 empty] | 0.5 | >1 | [7 empty] | Canal
P43863-1 | 8/10/2009 0929 | G375B | G24 | 0.03 | 0.002 | [6 empty] | 0.5 | >1 | [5 empty] | 1441 | processed at lab on 08/11/09 | Canal
P45249-3 | 8/10/2009 0949 | G375E | G | 0.034 | 0.003 | [6 empty] | 0.5 | >1 | [7 empty] | Canal
P43863-2 | 8/10/2009 0949 | G375E | G24 | 0.034 | 0.002 | [6 empty] | 0.5 | >1 | [5 empty] | 1441 | processed at lab on 08/11/09 | Canal
P45249-5 | 8/10/2009 1014 | G378B | G | 0.039 | 0.002 | [6 empty] | 0.5 | >1 | [7 empty] | Canal
P43863-3 | 8/10/2009 1014 | G378B | G24 | 0.04 | 0.002 | [6 empty] | 0.5 | >1 | [5 empty] | 1429 | processed at lab on 08/11/09 | Canal
P45249-7 | 8/10/2009 1029 | G378D | G | 0.024 | 0.002 | [6 empty] | 0.5 | >1 | [7 empty] | Canal
P43863-4 | 8/10/2009 1029 | G378D | G24 | 0.024 | 0.002 | [6 empty] | 0.5 | >1 | [5 empty] | 1421 | processed at lab on 08/11/09 | Canal
P45249-9 | 8/10/2009 1043 | G378E | G | 0.03 | 0.002 | [6 empty] | 0.5 | >1 | [7 empty] | Canal
P43863-5 | 8/10/2009 1043 | G378E | G24 | 0.032 | 0.002 | [6 empty] | 0.5 | >1 | [5 empty] | 1417 | processed at lab on 08/11/09 | Canal
P45249-11 | 8/10/2009 1100 | G384B | G | 0.039 | 0.007 | [6 empty] | 0.5 | >1 | [7 empty] | Canal
P43863-6 | 8/10/2009 1100 | G384B | G24 | 0.043 | 0.006 | [6 empty] | 0.5 | >1 | [5 empty] | 1410 | processed at lab on 08/11/09 | Canal
P44919-1 | 8/11/2009 1111 | G393B | G | 0.022 | 0.002 | 1.5 |  |  |  |  | 0.01 | 0.5 | [8 empty] | Canal
P45593-1 | 8/11/2009 1111 | G393B | G24 | 0.023 | 0.002 | 1.49 |  |  |  |  | 0.01 | 0.5 | [6 empty] | 1399 | processed at lab on 08/12/09 | Canal
P44919-3 | 8/11/2009 1044 | G354C | G | 0.024 | 0.002 | 1.49 |  |  |  |  | 0.01 | 0.5 | [8 empty] | Canal
P45593-2 | 8/11/2009 1044 | G354C | G24 | 0.024 | 0.002 | 1.53 |  |  |  |  | 0.01 | 0.5 | [6 empty] | 1416 | processed at lab on 08/12/09 | Canal
P44919-6 | 8/11/2009 0957 | G352B | G | 0.046 | 0.004 | 1.68 |  |  |  |  | 0.016 | 0.5 | [8 empty] | Canal
P45593-3 | 8/11/2009 0957 | G352B | G24 | 0.048 | 0.005 | 1.63 |  |  |  |  | 0.018 | 0.5 | [6 empty] | 1443 | processed at lab on 08/12/09 | Canal
P44919-10 | 8/11/2009 1356 | G396B | G | 0.074 | 0.028 | 1.78 |  |  |  |  | 0.095 | 0.5 | [8 empty] | Canal
P45593-4 | 8/11/2009 1356 | G396B | G24 | 0.072 | 0.028 | 1.72 |  |  |  |  | 0.093 | 0.5 | [6 empty] | 1249 | processed at lab on 08/12/09 | Canal
P44919-15 | 8/11/2009 1216 | G353B | G | 0.121 | 0.077 | 1.59 |  |  |  |  | 0.039 | 0.5 | [8 empty] | Canal
P45593-5 | 8/11/2009 1216 | G353B | G24 | 0.117 | 0.076 | 1.58 |  |  |  |  | 0.043 | 0.5 | [6 empty] | 1339 | processed at lab on 08/12/09 | Canal
P45292-1 | 8/19/2009 1000 | G344E | G | 0.026 | 0.001 | 1.57 |  |  |  |  | 0.011 | 0.5 | [8 empty] | Canal
P45752-4 | 8/19/2009 1000 | G344E | G24 | 0.024 | 0.002 | 1.59 |  |  |  |  | 0.012 | 0.5 | [6 empty] | 1442 | processed at lab on 08/20/09 | Canal
P45292-3 | 8/19/2009 1023 | G344F | G | 0.026 | 0.001 | 1.5 |  |  |  |  | 0.01 | 0.5 | [8 empty] | Canal
P45752-5 | 8/19/2009 1023 | G344F | G24 | 0.028 | 0.002 | 1.55 |  |  |  |  | 0.011 | 0.5 | [6 empty] | 1438 | processed at lab on 08/20/09 | Canal
P45292-6 | 8/19/2009 1041 | G343J | G | 0.036 | 0.001 | 1.6 |  |  |  |  | 0.013 | 0.5 | [8 empty] | Canal
P45752-3 | 8/19/2009 1041 | G343J | G24 | 0.035 | 0.002 | 1.53 |  |  |  |  | 0.014 | 0.5 | [6 empty] | 1437 | processed at lab on 08/20/09 | Canal
P45292-8 | 8/19/2009 1105 | G342F | G | 0.139 | 0.087 | 1.55 |  |  |  |  | 0.106 | 0.5 | [8 empty] | Canal
P45752-2 | 8/19/2009 1105 | G342F | G24 | 0.137 | 0.088 | 1.52 |  |  |  |  | 0.107 | 0.5 | [6 empty] | 1440 | processed at lab on 08/20/09 | Canal
P45292-10 | 8/19/2009 1122 | G342E | G | 0.138 | 0.087 | 1.53 |  |  |  |  | 0.107 | 0.5 | [8 empty] | Canal
P45752-1 | 8/19/2009 1122 | G342E | G24 | 0.134 | 0.089 | 1.53 |  |  |  |  | 0.107 | 0.5 | [6 empty] | 1440 | processed at lab on 08/20/09 | Canal
P45240-2 | 8/19/2009 0855 | G344A | G | 0.024 | 0.001 | [5 empty] | 0.008 | 0.5 | [8 empty] | Canal
P45752-7 | 8/19/2009 0855 | G344A | G24 | 0.019 | 0.002 | [5 empty] | 0.009 | 0.5 | [6 empty] | 1440 | processed at lab on 08/20/09 | Canal
P45240-4 | 8/19/2009 0921 | G344B | G | 0.029 | 0.002 | [5 empty] | 0.01 | 0.5 | [8 empty] | Canal
P45752-8 | 8/19/2009 0921 | G344B | G24 | 0.027 | 0.002 | [5 empty] | 0.01 | 0.5 | [6 empty] | 1444 | processed at lab on 08/20/09 | Canal
P45240-6 | 8/19/2009 0945 | G344C | G | 0.04 | 0.013 | [5 empty] | 0.023 | 0.5 | [8 empty] | Canal
P45752-9 | 8/19/2009 0945 | G344C | G24 | 0.035 | 0.014 | [5 empty] | 0.024 | 0.5 | [6 empty] | 1442 | processed at lab on 08/20/09 | Canal
P45240-8 | 8/19/2009 1005 | G344D | G | 0.056 | 0.017 | [5 empty] | 0.028 | 0.5 | [8 empty] | Canal
P45752-10 | 8/19/2009 1005 | G344D | G24 | 0.04 | 0.017 | [5 empty] | 0.028 | 0.5 | [6 empty] | 1443 | processed at lab on 08/20/09 | Canal
P45240-12 | 8/19/2009 1056 | G342D | G | 0.27 | 0.208 | [5 empty] | 0.225 | 0.5 | [8 empty] | Canal
P45752-6 | 8/19/2009 1056 | G342D | G24 | 0.276 | 0.21 | [5 empty] | 0.237 | 0.5 | [6 empty] | 1438 | processed at lab on 08/20/09 | Canal
P44840-13 | 8/19/2009 1307 | G343B | G | 0.044 | 0.002 | 1.79 |  |  |  |  | 0.015 | 0.5 | [8 empty] | Canal
P45752-11 | 8/19/2009 1307 | G343B | G24 | 0.045 | 0.004 | 1.77 |  |  |  |  | 0.02 | 0.5 | [6 empty] | 1440 | processed at lab on 08/20/09 | Canal
P44840-11 | 8/19/2009 1240 | G343C | G | 0.045 | 0.003 | 1.74 |  |  |  |  | 0.017 | 0.5 | [8 empty] | Canal
P45752-12 | 8/19/2009 1240 | G343C | G24 | 0.042 | 0.003 | 1.73 |  |  |  |  | 0.02 | 0.5 | [6 empty] | 1439 | processed at lab on 08/20/09 | Canal
P44840-9 | 8/19/2009 1215 | G343F | G | 0.112 | 0.068 | 1.39 |  |  |  |  | 0.081 | 0.5 | [8 empty] | Canal
P45752-13 | 8/19/2009 1215 | G343F | G24 | 0.113 | 0.067 | 1.42 |  |  |  |  | 0.084 | 0.5 | [6 empty] | 1444 | processed at lab on 08/20/09 | Canal
P44840-7 | 8/19/2009 1136 | G343G | G | 0.081 | 0.043 | 1.45 |  |  |  |  | 0.056 | 0.5 | [8 empty] | Canal
P45752-14 | 8/19/2009 1136 | G343G | G24 | 0.078 | 0.043 | 1.43 |  |  |  |  | 0.057 | 0.5 | [6 empty] | 1439 | processed at lab on 08/20/09 | Canal
P43862-1 | 9/30/2009 0845 | ENR012 | G | 0.024 | 0 | 2.27 | 0.014 | 0.07 | 61.4 | 132.2 |  | 0.2 | 0.4 | 0.4 | [6 empty] | Canal
P43862-2 | 9/30/2009 0845 | ENR012 | G24 | 0.025 | 0.001 | 2.24 | 0.013 | 0.065 | 60.9 | 131.6 |  | 0.2 | 0.4 | 0.4 |  |  |  |  | 1450 | processed on 10/1/09 | Canal
P43862-3 | 9/30/2009 0905 | G308 | G | 0.041 | 0 | 2.51 | 0.034 | 0.1 | 51.8 | 136.1 |  | 0.25 | 0.47 | 0.47 | [6 empty] | Canal
P43862-4 | 9/30/2009 0905 | G308 | G24 | 0.042 | 0.003 | 2.55 | 0.034 | 0.103 | 51.7 | 135.9 |  | 0.25 | 0.47 | 0.47 |  |  |  |  | 1442 | processed on 10/1/09 | Canal
P43862-5 | 9/30/2009 0930 | G306G | G | 0.136 | 0.06 | 3.79 | 0 | 0.778 | 74.9 | 151.2 |  | 0.26 | 0.54 | 0.54 | [6 empty] | Canal
P43862-6 | 9/30/2009 0930 | G306G | G24 | 0.132 | 0.058 | 3.81 | -0.002 | 0.775 | 80.8 | 151.4 |  | 0.26 | 0.54 | 0.54 |  |  |  |  | 1425 | processed on 10/1/09 | Canal
P43862-7 | 9/30/2009 1000 | G305N | G | 0.167 | 0.11 | 3.18 | 0.18 | 0.207 | 99 | 171.9 |  | 0.27 | 0.55 | 0.55 | [6 empty] | Canal
P43862-8 | 9/30/2009 1000 | G305N | G24 | 0.161 | 0.111 | 3.18 | 0.179 | 0.205 | 99.4 | 172.8 |  | 0.27 | 0.55 | 0.55 |  |  |  |  | 1405 | processed on 10/1/09 | Canal
P43862-10 | 9/30/2009 1015 | G255_SS | G | 0.149 | 0.094 | 3.01 | 0.218 | 0.083 | 98.1 | 185.1 |  | 0.22 | 0.43 | 0.43 | [6 empty] | Canal
P43862-9 | 9/30/2009 1015 | G255_SS | G24 | 0.15 | 0.093 | 3.03 | 0.218 | 0.087 | 97.7 | 184.3 |  | 0.22 | 0.55 | 0.55 |  |  |  |  | 1400 | processed on 10/1/09 | Canal
P43862-11 | 9/30/2009 1030 | G248B | G | 0.113 | 0.04 | 2.92 | 0.003 | 0.112 | 82.7 | 151 |  | 0.27 | 0.55 | 0.55 | [6 empty] | Canal
P43862-12 | 9/30/2009 1030 | G248B | G24 | 0.125 | 0.046 | 3.04 | 0.003 | 0.112 | 83.1 | 151.6 |  | 0.27 | 0.55 | 0.55 |  |  |  |  | 1390 | processed on 10/1/09 | Canal
P43862-13 | 9/30/2009 1100 | S373A | G | 0.097 | 0.022 | 2.88 | 0.095 | 0.098 | 88.6 | 148.7 |  | 0.22 | 0.44 | 0.44 | [6 empty] | Canal
P43862-14 | 9/30/2009 1100 | S373A | G24 | 0.096 | 0.025 | 2.86 | 0.093 | 0.096 | 88.3 | 148.2 |  | 0.22 | 0.44 | 0.44 |  |  |  |  | 1330 | processed on 10/1/09 | Canal
P43862-15 | 9/30/2009 1120 | S366B | G | 0.1 | 0.051 | 2.2 | 0.501 | 0.092 | 73.7 | 154.6 |  | 0.28 | 0.57 | 0.57 | [6 empty] | Canal
P43862-16 | 9/30/2009 1120 | S366B | G24 | 0.098 | 0.053 | 2.2 | 0.505 | 0.09 | 74.2 | 155.8 |  | 0.28 | 0.57 | 0.57 |  |  |  |  | 1320 | processed on 10/1/09 | Canal
P43862-17 | 9/30/2009 1135 | S364A | G | 0.051 | 0.007 | 1.26 | 0.001 | 0.04 | 2.5 | 54.9 |  | 0.33 | 0.66 | 0.66 | [6 empty] | Canal
P43862-18 | 9/30/2009 1135 | S364A | G24 | 0.052 | 0.009 | 1.28 | 0.002 | 0.04 | 2.6 | 55.2 |  | 0.33 | 0.66 | 0.66 |  |  |  |  | 1315 | processed on 10/1/09 | Canal
P43864-1 | 11/3/2009 0839 | LOX3 | G | 0.007 | [7 empty] | 0.06 | 0.11 | 0.22 | 840 | [5 empty] | Marsh
P43864-2 | 11/3/2009 0841 | LOX3 | G24 | 0.009 | [7 empty] | 0.06 | 0.11 | 0.22 |  |  |  |  | 1400 | processed on 11/4/09 0800 | Marsh
P43864-3 | 11/3/2009 0851 | LOX5 | G | 0.007 | [7 empty] | 0.08 | 0.16 | 0.22 | 852 | [5 empty] | Marsh
P43864-4 | 11/3/2009 0852 | LOX5 | G24 | 0.008 | [7 empty] | 0.08 | 0.16 | 0.22 |  |  |  |  | 1348 | processed on 11/4/09 0800 | Marsh
P43864-5 | 11/3/2009 0906 | LOX10 | G | 0.005 | [7 empty] | 0.14 | 0.27 | 0.32 | 907 | [5 empty] | Marsh
P43864-6 | 11/3/2009 0908 | LOX10 | G24 | 0.006 | [7 empty] | 0.14 | 0.27 | 0.32 |  |  |  |  | 1333 | processed on 11/4/09 0800 | Marsh
P43864-7 | 11/3/2009 0925 | LOX9 | G | 0.007 | [7 empty] | 0.11 | 0.21 | 0.31 | 926 | [5 empty] | Marsh
P43864-8 | 11/3/2009 0927 | LOX9 | G24 | 0.009 | [7 empty] | 0.11 | 0.21 | 0.31 |  |  |  |  | 1315 | processed on 11/4/09 0801 | Marsh
P43864-9 | 11/3/2009 0940 | LOX8 | G | 0.01 | [7 empty] | 0.19 | 0.37 | 0.44 | 941 | [5 empty] | Marsh
P43864-10 | 11/3/2009 0942 | LOX8 | G24 | 0.011 | [7 empty] | 0.19 | 0.37 | 0.44 |  |  |  |  | 1300 | processed on 11/4/09 0801 | Marsh
P43864-11 | 11/3/2009 0952 | LOX7 | G | 0.007 | [7 empty] | 0.17 | 0.34 | 0.5 | 953 | [5 empty] | Marsh
P43864-12 | 11/3/2009 0954 | LOX7 | G24 | 0.007 | [7 empty] | 0.17 | 0.34 | 0.5 |  |  |  |  | 1248 | processed on 11/4/09 0801 | Marsh
P45541-7 | 11/3/2009 1003 | LOXA130 | G | 0.01 | [7 empty] | 0.17 | 0.33 | 0.39 | [6 empty] | Marsh
P43864-13 | 11/3/2009 1005 | LOXA130 | G24 | 0.01 | [7 empty] | 0.17 | 0.33 | 0.39 | [5 empty] | processed on 11/4/09 0801 | Marsh
P43864-14 | 11/3/2009 1014 | LOX4 | G | 0.009 | [7 empty] | 0.09 | 0.18 | 0.43 | 1015 | [5 empty] | Marsh
P43864-15 | 11/3/2009 1016 | LOX4 | G24 | 0.008 | [7 empty] | 0.09 | 0.18 | 0.43 |  |  |  |  | 1226 | processed on 11/4/09 0801 | Marsh
P45541-9 | 11/3/2009 1025 | LOXA140 | G | 0.011 | [7 empty] | 0.1 | 0.2 | 0.3 | [6 empty] | Marsh
P43864-16 | 11/3/2009 1027 | LOXA140 | G24 | 0.011 | [7 empty] | 0.1 | 0.2 | 0.3 | [5 empty] | processed on 11/4/09 0802 | Marsh
P45541-10 | 11/3/2009 1035 | LOXA101 | G | 0.01 | [7 empty] | 0.14 | 0.27 | 0.3 | [6 empty] | Marsh
P43864-17 | 11/3/2009 1037 | LOXA101 | G24 | 0.01 | [7 empty] | 0.14 | 0.27 | 0.3 | [5 empty] | processed on 11/4/09 0802 | Marsh
P45399-1 | 11/5/2009 0912 | LOXA104 | G | 0.031 | [7 empty] | 0.5 |  | >1 | 912 | [5 empty] | Marsh
P46655-1 | 11/5/2009 0912 | LOXA104 | G24 | 0.031 | [7 empty] | 0.5 |  | >1 |  |  |  |  | 1438 | processed 11/06/09 @0910 | Marsh
P45399-2 | 11/5/2009 0920 | LOXA104.5 | G | 0.033 | [7 empty] | 0.16 | 0.33 | 0.49 | 920 | [5 empty] | Marsh
P46655-2 | 11/5/2009 0920 | LOXA104.5 | G24 | 0.033 | [7 empty] | 0.16 | 0.33 | 0.49 |  |  |  |  | 1431 | processed 11/06/09 @0911 | Marsh
P45399-3 | 11/5/2009 0930 | LOXA105 | G | 0.014 | [7 empty] | 0.19 | 0.39 | 0.46 | 930 | [5 empty] | Marsh
P46655-3 | 11/5/2009 0930 | LOXA105 | G24 | 0.014 | [7 empty] | 0.19 | 0.39 | 0.46 |  |  |  |  | 1422 | processed 11/06/09 @0912 | Marsh
P45399-4 | 11/5/2009 0940 | LOXA106 | G | 0.009 | [7 empty] | 0.13 | 0.27 | 0.32 | 940 | [5 empty] | Marsh
P46655-4 | 11/5/2009 0940 | LOXA106 | G24 | 0.009 | [7 empty] | 0.13 | 0.27 | 0.32 |  |  |  |  | 1413 | processed 11/06/09 @0913 | Marsh
P45399-5 | 11/5/2009 0948 | LOXA107 | G | 0.006 | [7 empty] | 0.09 | 0.19 | 0.23 | 948 | [5 empty] | Marsh
P46655-5 | 11/5/2009 0948 | LOXA107 | G24 | 0.007 | [7 empty] | 0.09 | 0.19 | 0.23 |  |  |  |  | 1406 | processed 11/06/09 @0914 | Marsh
P45399-6 | 11/5/2009 0958 | LOXA107U | G | 0.006 | [7 empty] | 0.06 | 0.12 | 0.18 | 958 | [5 empty] | Marsh
P46655-6 | 11/5/2009 0958 | LOXA107U | G24 | 0.007 | [7 empty] | 0.06 | 0.12 | 0.18 |  |  |  |  | 1397 | processed 11/06/09 @0915 | Marsh
P45399-7 | 11/5/2009 1010 | LOXA108 | G | 0.007 | [7 empty] | 0.08 | 0.17 | 0.25 | 1010 | [5 empty] | Marsh
P46655-7 | 11/5/2009 1010 | LOXA108 | G24 | 0.006 | [7 empty] | 0.08 | 0.17 | 0.25 |  |  |  |  | 1386 | processed 11/06/09 @0916 | Marsh
P45399-8 | 11/5/2009 1025 | LOXA139 | G | 0.016 | [7 empty] | 0.08 | 0.17 | 0.24 | 1025 | [5 empty] | Marsh
P46655-8 | 11/5/2009 1025 | LOXA139 | G24 | 0.01 | [7 empty] | 0.08 | 0.17 | 0.24 |  |  |  |  | 1372 | processed 11/06/09 @0917 | Marsh
P45399-9 | 11/5/2009 1037 | LOXA138 | G | 0.006 | [7 empty] | 0.1 | 0.21 | 0.31 | 1037 | [5 empty] | Marsh
P46655-9 | 11/5/2009 1037 | LOXA138 | G24 | 0.006 | [7 empty] | 0.1 | 0.21 | 0.31 |  |  |  |  | 1361 | processed 11/06/09 @0918 | Marsh
P45399-10 | 11/5/2009 1047 | LOXA137 | G | 0.008 | [7 empty] | 0.22 | 0.45 | 0.49 | 1047 | [5 empty] | Marsh
P46655-10 | 11/5/2009 1047 | LOXA137 | G24 | 0.007 | [7 empty] | 0.22 | 0.45 | 0.49 |  |  |  |  | 1352 | processed 11/06/09 @0919 | Marsh
P45399-11 | 11/5/2009 1058 | LOXA136 | G | 0.019 | [7 empty] | 0.2 | 0.4 | 0.63 | 1058 | [5 empty] | Marsh
P46655-11 | 11/5/2009 1058 | LOXA136 | G24 | 0.016 | [7 empty] | 0.2 | 0.4 | 0.63 |  |  |  |  | 1342 | processed 11/06/09 @0920 | Marsh
P45399-12 | 11/5/2009 1105 | LOXA135 | G | 0.042 | [7 empty] | 0.5 |  | >1 | 1105 | [5 empty] | Marsh
P46655-12 | 11/5/2009 1105 | LOXA135 | G24 | 0.043 | [7 empty] | 0.5 |  | >1 |  |  |  |  | 1336 | processed 11/06/09 @0921 | Marsh
P46682-1 | 11/9/2009 0915 | CA316 | G | 0.006 | [7 empty] | 0.25 | 0.5 | 0.66 | 916 |  |  |  | 1 |  | Marsh
P46682-2 | 11/9/2009 0917 | CA316 | G24 | 0.004 | [7 empty] | 0.25 | 0.5 | 0.66 |  |  |  |  | 1483 | processed 11/10/09 @ 1000 | Marsh
P46682-3 | 11/9/2009 0930 | CA317 | G | 0.006 | [7 empty] | 0.45 | 0.9 | 1.13 | 931 |  |  |  | 1 |  | Marsh
P46682-4 | 11/9/2009 0932 | CA317 | G24 | 0.003 | [7 empty] | 0.45 | 0.9 | 1.13 |  |  |  |  | 1468 | processed 11/10/09 @ 1001 | Marsh
P46682-5 | 11/9/2009 0942 | CA318 | G | 0.007 | [7 empty] | 0.37 | 0.73 | 0.87 | 943 |  |  |  | 1 |  | Marsh
P46682-6 | 11/9/2009 0944 | CA318 | G24 | 0.006 | [7 empty] | 0.37 | 0.73 | 0.87 |  |  |  |  | 1458 | processed 11/10/09 @ 1002 | Marsh
P46682-7 | 11/9/2009 0959 | CA315 | G | 0.004 | [7 empty] | 0.26 | 0.51 | 0.63 | 1000 |  |  |  | 1 |  | Marsh
P46682-8 | 11/9/2009 1001 | CA315 | G24 | 0.002 | [7 empty] | 0.26 | 0.51 | 0.63 |  |  |  |  | 1442 | processed 11/10/09 @ 1003 | Marsh
P46682-9 | 11/9/2009 1053 | CA311 | G | 0.003 | [7 empty] | 0.2 | 0.4 | 0.43 | 1054 |  |  |  | 1 |  | Marsh
P46682-10 | 11/9/2009 1055 | CA311 | G24 | 0.002 | [7 empty] | 0.2 | 0.4 | 0.43 |  |  |  |  | 1389 | processed 11/10/09 @ 1004 | Marsh
P46682-11 | 11/9/2009 1105 | CA38 | G | 0.004 | [7 empty] | 0.09 | 0.18 | 0.22 | 1106 |  |  |  | 1 |  | Marsh
P46682-12 | 11/9/2009 1107 | CA38 | G24 | 0.002 | [7 empty] | 0.09 | 0.18 | 0.22 |  |  |  |  | 1378 | processed 11/10/09 @ 1005 | Marsh
P46682-13 | 11/9/2009 1132 | CA36 | G | 0.017 | [7 empty] | 0.06 | 0.12 | 0.15 | 1133 |  |  |  | 1 |  | Marsh
P46682-14 | 11/9/2009 1134 | CA36 | G24 | 0.016 | [7 empty] | 0.06 | 0.12 | 0.15 |  |  |  |  | 1312 | processed 11/10/09 @ 1006 | Marsh
P46682-15 | 11/9/2009 1146 | CA34 | G | 0.006 | [7 empty] | 0.16 | 0.32 | 0.37 | 1147 |  |  |  | 1 |  | Marsh
P46682-16 | 11/9/2009 1148 | CA34 | G24 | 0.004 | [7 empty] | 0.16 | 0.32 | 0.37 |  |  |  |  | 1259 | processed 11/10/09 @ 1007 | Marsh
P45392-2 | 11/18/2009 1030 | CA325 | G | 0.005 | [7 empty] | 0.11 | 0.22 | 0.3 | [6 empty] | Marsh
P46683-1 | 11/18/2009 1030 | CA325 | G24 | 0.004 | [7 empty] | 0.11 | 0.22 | 0.3 |  |  |  |  | 1607 | processed 11/19/09 @ 1157 | Marsh
P45392-3 | 11/18/2009 1019 | 3ASMESO | G | 0.003 | [7 empty] | 0.24 | 0.48 | 0.61 | [6 empty] | Marsh
P46683-2 | 11/18/2009 1019 | 3ASMESO | G24 | 0.003 | [7 empty] | 0.24 | 0.48 | 0.61 |  |  |  |  | 1619 | processed 11/19/09 @ 1158 | Marsh
P45392-4 | 11/18/2009 1007 | CA319 | G | 0.004 | [7 empty] | 0.23 | 0.46 | 0.63 | [6 empty] | Marsh
P46683-3 | 11/18/2009 1007 | CA319 | G24 | 0.002 | [7 empty] | 0.23 | 0.46 | 0.63 |  |  |  |  | 1632 | processed 11/19/09 @ 1159 | Marsh
P45392-5 | 11/18/2009 0955 | CA3B2 | G | 0.004 | [7 empty] | 0.2 | 0.39 | 0.46 | [6 empty] | Marsh
P46683-4 | 11/18/2009 0955 | CA3B2 | G24 | 0.004 | [7 empty] | 0.2 | 0.39 | 0.46 |  |  |  |  | 1645 | processed 11/19/09 @ 1200 | Marsh
P45392-6 | 11/18/2009 0945 | S345B6 | G | 0.004 | [7 empty] | 0.17 | 0.34 | 0.43 | [6 empty] | Marsh
P46683-5 | 11/18/2009 0945 | S345B6 | G24 | 0.003 | [7 empty] | 0.17 | 0.34 | 0.43 |  |  |  |  | 1656 | processed 11/19/09 @ 1201 | Marsh
P45392-7 | 11/18/2009 0936 | CA3B1 | G | 0.004 | [7 empty] | 0.19 | 0.38 | 0.42 | [6 empty] | Marsh
P46683-6 | 11/18/2009 0936 | CA3B1 | G24 | 0.004 | [7 empty] | 0.19 | 0.38 | 0.42 |  |  |  |  | 1706 | processed 11/19/09 @ 1202 | Marsh
P45392-8 | 11/18/2009 0926 | CA314 | G | 0.004 | [7 empty] | 0.4 | 0.8 | 0.89 | [6 empty] | Marsh
P46683-7 | 11/18/2009 0926 | CA314 | G24 | 0.004 | [7 empty] | 0.4 | 0.8 | 0.89 |  |  |  |  | 1717 | processed 11/19/09 @ 1203 | Marsh
P45392-9 | 11/18/2009 0909 | CA39 | G | 0.006 | [7 empty] | 0.14 | 0.28 | 0.33 | [6 empty] | Marsh
P46683-8 | 11/18/2009 0909 | CA39 | G24 | 0.005 | [7 empty] | 0.14 | 0.28 | 0.33 |  |  |  |  | 1735 | processed 11/19/09 @ 1204 | Marsh
P45222-1 | 11/19/2009 0853 | CA223 | G | 0.024 | [7 empty] | 0.06 | 0.12 | 0.23 | [6 empty] | Marsh
P46702-1 | 11/19/2009 0853 | CA223 | G24 | 0.024 | [7 empty] | 0.06 | 0.12 | 0.23 |  |  |  |  | 1502 | processed 11/20/09 @ 0915 | Marsh
P45222-2 | 11/19/2009 0906 | E5 | G | 0.034 | [7 empty] | 0.24 | 0.49 | 0.57 | [6 empty] | Marsh
P46702-2 | 11/19/2009 0906 | E5 | G24 | 0.036 | [7 empty] | 0.24 | 0.49 | 0.57 |  |  |  |  | 1450 | processed 11/20/09 @ 0916 | Marsh
P45222-3 | 11/19/2009 0913 | U1 | G | 0.005 | [7 empty] | 0.37 | 0.72 | 0.78 | [6 empty] | Marsh
P46702-3 | 11/19/2009 0913 | U1 | G24 | 0.006 | [7 empty] | 0.37 | 0.72 | 0.78 |  |  |  |  | 1444 | processed 11/20/09 @ 0917 | Marsh
P45222-4 | 11/19/2009 0925 | CA217 | G | 0.004 | [7 empty] | 0.79 | 0.36 | 0.71 | [6 empty] | Marsh
P46702-4 | 11/19/2009 0925 | CA217 | G24 | 0.006 | [7 empty] | 0.79 | 0.36 | 0.71 |  |  |  |  | 1433 | processed 11/20/09 @ 0918 | Marsh
P45222-5 | 11/19/2009 0933 | CA222 | G | 0.005 | [7 empty] | 0.2 | 0.41 | 0.47 | [6 empty] | Marsh
P46702-5 | 11/19/2009 0933 | CA222 | G24 | 0.004 | [7 empty] | 0.2 | 0.41 | 0.47 |  |  |  |  | 1426 | processed 11/20/09 @ 0919 | Marsh
P45222-6 | 11/19/2009 0940 | F5 | G | 0.005 | [7 empty] | 0.2 | 0.41 | 0.51 | [6 empty] | Marsh
P46702-6 | 11/19/2009 0940 | F5 | G24 | 0.005 | [7 empty] | 0.2 | 0.41 | 0.51 |  |  |  |  | 1420 | processed 11/20/09 @ 0920 | Marsh
P45222-7 | 11/19/2009 0953 | F3 | G | 0.009 | [7 empty] | 0.29 | 0.59 | 0.68 | [6 empty] | Marsh
P46702-7 | 11/19/2009 0953 | F3 | G24 | 0.013 | [7 empty] | 0.29 | 0.59 | 0.68 |  |  |  |  | 1408 | processed 11/20/09 @ 0921 | Marsh
P45222-8 | 11/19/2009 1010 | CA224 | G | 0.006 | [7 empty] | 0.23 | 0.46 | 0.51 | [6 empty] | Marsh
P46702-8 | 11/19/2009 1010 | CA224 | G24 | 0.005 | [7 empty] | 0.23 | 0.46 | 0.51 |  |  |  |  | 1352 | processed 11/20/09 @ 0922 | Marsh
P45222-9 | 11/19/2009 1020 | 404Z1 | G | 0.018 | [7 empty] | 0.16 | 0.32 | 0.44 | [6 empty] | Marsh
P46702-9 | 11/19/2009 1020 | 404Z1 | G24 | 0.021 | [7 empty] | 0.16 | 0.32 | 0.44 |  |  |  |  | 1343 | processed 11/20/09 @ 0923 | Marsh
P45222-10 | 11/19/2009 1031 | CA26 | G | 0.004 | [7 empty] | 0.07 | 0.15 | 0.2 | [6 empty] | Marsh
P46702-10 | 11/19/2009 1031 | CA26 | G24 | 0.006 | [7 empty] | 0.07 | 0.15 | 0.2 |  |  |  |  | 1333 | processed 11/20/09 @ 0924 | Marsh